# Structure Relations

Visualizing and Validating Geometric Relationships in Radiation Therapy Structure Sets

Presenter: Gregory Salomons
Project: Structure Relations
Purpose: Planning Preparation, Contour QA, and Plan Checking

# Slide 1 – The Problem

## Modern VMAT Planning is Complex

### A high-quality VMAT plan depends on accurate target and OAR structures for optimization and evaluation.

## Challenges

### Structure sets often contain dozens of derived structures.

### Expansion volumes, optimization structures, and avoidance structures must be generated correctly.

### Naming and labeling errors can be difficult to identify.

### Target/OAR overlap and proximity strongly influence optimization priorities.

## Clinical Need

### Dosimetrists and physicists require a rapid way to understand:

#### Which structures overlap

#### Which structures should contain others

#### Whether expansion margins were applied correctly

#### Where planning tradeoffs are expected

# Slide 2 – Introducing Structure Relations

## What is Structure Relations?

### Structure Relations is an interactive contour-analysis application that generates diagrams and reports describing geometric relationships between radiation therapy structures

## Primary Goals

### Planning preparation

### Structure QA

### Treatment plan review

### Relationship visualization

## Key Outputs

### Relationship diagrams

### Relationship matrices

### Quantitative metrics

### PDF reports

## Core Concept

### Instead of manually inspecting dozens of contours, users visualize the entire structure hierarchy and relationship network at a glance.

# Slide 3 – What Structure Relations Does

## Automated Relationship Analysis

### The application analyzes all selected structures and determines relationships between every structure pair

### Examples

#### PTV contains CTV

#### CTV contains GTV

#### PTV overlaps Parotid

#### Opt-Bladder partitions Bladder

#### Ring structure surrounds PTV

### Quantitative Metrics

#### Metrics depend on the relationship type:

### Containment

#### Superior margin

#### Inferior margin

#### Left margin

#### Right margin

#### Anterior margin

#### Posterior margin

#### Mean / Minimum / Maximum margin

### Overlap

#### Overlap volume

#### Percent overlap

### Disjoint Structures

#### Minimum distance

#### Mean distance

### These metrics are displayed interactively and included in reports

# Slide 4 – What Structure Relations Does NOT Do

## Scope of the Application

### Structure Relations is intended as:

#### A planning support tool

#### A contour review aid

#### A QA tool

### It Does Not

#### Modify structures

#### Generate structures

#### Edit contours

#### Assess contour quality

#### Judge clinical appropriateness

#### Evaluate plan dosimetry

### The application validates relationships, not contouring decisions.

# Slide 5 – Typical Workflow

## From DICOM to Relationship Diagram

### Input

#### RT Structure Set

#### DICOM RT files

### Processing

#### Load structure set

#### Extract contour geometry

#### Remove excluded structures

#### Analyze pairwise relationships

#### Calculate metrics

#### Generate visual diagram

#### Export PDF report

### The final output includes both diagrams and tabulated relationship information.

# Slide 6 – Interactive User Interface

## Exploring Relationships

### Structure Information

#### Hover over a structure to display:

##### Volume

##### Structure type

##### Assigned Hounsfield units

##### Additional metadata

### Relationship Information

#### Hover over relationship edges to display:

##### Margin measurements

##### Distances

##### Overlap volumes

##### Percent overlap

### User Controls

#### Right-click actions allow users to:

##### Hide structures

##### Hide relationships

##### Restore relationships

##### Add notes

##### Select displayed metrics

### These features support creation of customized QA diagrams.

# Slide 7 – Planning Preparation Example

## Dosimetrist Workflow

### Initial Inputs

#### Planning CT

#### Contoured structure set

#### Two PTV targets

### Analysis

#### Generate:

#### Target-OAR overlap diagram

##### Identify overlapping OARs

##### Display overlap percentages

#### Distance diagram

##### Distance between targets

##### Distance between targets and OARs

#### Benefits

#### Supports:

##### Selection of optimization structures

##### Initial beam arrangement

##### Optimization priorities

##### Anticipation of planning tradeoffs

# Slide 8 – Plan QA Example

## Physicist Workflow

### Structure Relations provides rapid verification that expected relationships exist.

### Examples

#### Verify that:

##### GTV is contained in CTV

##### CTV is contained in PTV

##### Expansion margins are appropriate

##### Optimization structures were generated correctly

##### Structures are labeled consistently

#### Example:

##### CTV_1 contains GTV_1

##### PTV_1 contains CTV_1

##### Opt-Bladder partitions Bladder and borders the target.

# Slide 9 – Failure Investigation

## Finding the Cause of Relationship Violations

### When expected relationships fail:

#### Slice-Based Review

##### The application can display:

###### Slice-level relationships

###### 2D contour comparisons

###### Problem locations

#### Example

##### Expected:

##### PTV contains GTV

##### Observed:

##### PTV overlaps GTV

##### Investigation reveals:

###### Relationship correct on most slices

###### Failure occurs on only two slices

##### Cause:

###### GTV generated from MIP CT

###### PTV manually cropped against chest wall

The relationship diagram immediately identifies where review should focus.

# Slide 10 – Relationship Model

## Physical Relationships

### The application identifies several fundamental geometric relationships

## Major Relationship Classes

### Equals

### Contains

### Partitions

### Confines

### Surrounds

### Shelters

### Overlaps

### Borders

### Disjoint

## Each relationship corresponds to a precise geometric definition and supports specific metrics.

# Slide 11 – Beyond DE-9IM

## DE-27IM Relationship Framework

### Standard DE-9IM topology cannot distinguish some clinically meaningful cases.

### Example:

### A structure completely inside a hole in another structure is classified as disjoint.

### Structure Relations extends this using a DE-27IM framework that combines:

#### Structure relationship

#### Exterior relationship

#### Convex hull relationship

### This enables clinically meaningful concepts such as:

#### Surrounds

#### Shelters

#### Confines

### that would otherwise be lost

# Slide 12 – Logical Relationships

## Removing Diagram Clutter

### Many relationships are implied by other relationships.

## Example

### If

### PTV contains CTV

### and

### CTV contains GTV

### then

### PTV contains GTV

### is guaranteed.

### This is a Logical Relationship.

## Benefit

### Logical relationships are hidden by default, so diagrams emphasize direct and clinically relevant relationships rather than redundant information.

# Slide 13 – Relationship Logic Engine

## Graph-Based Relationship Analysis

### To identify logical relationships:

#### Build a directed graph.

#### Add explicit relationships.

#### Add implied relationships.

#### Search for alternate paths.

#### Classify redundant edges as logical.

### This approach allows complex structure sets to be visualized clearly even when hundreds of pairwise relationships exist.

# Slide 14 – Current Outputs

## Existing Deliverables

## Relationship Diagram

### Visual network of contour relationships.

## Relationship Matrix

### Complete pairwise relationship table.

## Metrics Display

### Margins

### Distances

### Overlap volumes

### Relative volumes

## Slice-Based Comparisons

### Detailed contour investigation tools.

### (Insert application screenshots here.)

# Slide 15 – Architecture Overview

## Algorithm Design

## Geometry Analysis

### Slice-by-slice processing

### 3D corrections and aggregation

### Topological classification

### Metric calculation

## Relationship Engine

### DE-27IM model

### Relationship classification

### Logical relationship detection

### Graph simplification

## Output Layer

### Interactive diagrams

### Tables

### Reports

### PDF export

# Slide 16 – Roadmap

## Planned Enhancements

## Visualization

### Display margins directly on diagrams

### Display distances directly on diagrams

### Display overlap percentages directly on diagrams

## Interface

### Improved automatic layout

### Better readability of large diagrams

## Slice Viewer

### Embedded CT images

### Annotated contour comparisons

## Automated Testing Templates

### Site-specific QA checks:

#### Head and Neck

#### Lung SBRT

#### Breast

#### Pelvis

### Automatically verify:

#### Naming conventions

#### Expected relationships

#### Margin requirements

### Generate exception reports for failed tests.

# Slide 17 – Long-Term Vision

## From Visualization to Automated Structure QA

### Future releases could:

#### Validate expected contour hierarchies

#### Detect missing structures

#### Verify standard margins

#### Annotate failures

#### Generate automated QA reports

### Goal:

#### Transform contour relationship review from a manual visual task into an efficient, standardized, and largely automated QA process.

# Slide 18 – Summary

## Structure Relations

### Provides

#### ✓ Rapid visualization of structure relationships

#### ✓ Quantitative overlap, margin, and distance metrics

#### ✓ Planning preparation support

#### ✓ Plan checking support

#### ✓ Contour QA support

#### ✓ Interactive diagrams and reports

## Key Takeaway

### Structure Relations makes contour relationships visible, measurable, and actionable, enabling faster planning decisions and more effective plan QA. [Relations | Word]

### This outline is already at the level where it could be directly converted into a 15–20 minute conference-style PowerPoint. I would recommend adding 4–6 screenshots from the current application (relationship diagrams, matrix view, and slice comparison view) after Slides 7, 8, 12, and 14 to make the presentation much more compelling.