## Slide 1: Structure Relations

## Slide 2: The Problem
Modern VMAT Planning is Complex
  A high-quality VMAT plan depends on accurate target and OAR structures for optimization and evaluation.
Challenges
  Structure sets often contain dozens of derived structures.
  Expansion volumes, optimization structures, and avoidance structures must be generated correctly.
  Naming and labeling errors can be difficult to identify.
  Target/OAR overlap and proximity strongly influence optimization priorities.
Clinical Need
  Dosimetrists and physicists require a rapid way to understand:
    Which structures overlap
    Which structures should contain others
    Whether expansion margins were applied correctly
    Where planning tradeoffs are expected

## Slide 3: Introducing Structure Relations
What is Structure Relations?
  Structure Relations is an interactive contour-analysis application that generates diagrams and reports describing geometric relationships between radiation therapy structures
Primary Goals
  Planning preparation
  Structure QA
  Treatment plan review
  Relationship visualization
Key Outputs
  Relationship diagrams
  Relationship matrices
  Quantitative metrics
  PDF reports
Core Concept
  Instead of manually inspecting dozens of contours, users visualize the entire structure hierarchy and relationship network at a glance.

## Slide 4: What Structure Relations Does
Automated Relationship Analysis
  The application analyzes all selected structures and determines relationships between every structure pair
  Examples
    PTV contains CTV
    CTV contains GTV
    PTV overlaps Parotid
    Opt-Bladder partitions Bladder
    Ring structure surrounds PTV
  Quantitative Metrics
    Metrics depend on the relationship type:
  Containment
    Superior margin
    Inferior margin
    Left margin
    Right margin
    Anterior margin
    Posterior margin
    Mean / Minimum / Maximum margin
  Overlap
    Overlap volume
    Percent overlap
  Disjoint Structures
    Minimum distance
    Mean distance
  These metrics are displayed interactively and included in reports

## Slide 5: What Structure Relations Does NOT Do
Scope of the Application
  Structure Relations is intended as:
    A planning support tool
    A contour review aid
    A QA tool
  It Does Not
    Modify structures
    Generate structures
    Edit contours
    Assess contour quality
    Judge clinical appropriateness
    Evaluate plan dosimetry
  The application validates relationships, not contouring decisions.

## Slide 6: Typical Workflow
From DICOM to Relationship Diagram
  Input
    RT Structure Set
    DICOM RT files
  Processing
    Load structure set
    Extract contour geometry
    Remove excluded structures
    Analyze pairwise relationships
    Calculate metrics
    Generate visual diagram
    Export PDF report
  The final output includes both diagrams and tabulated relationship information.

## Slide 7: Interactive User Interface
Exploring Relationships
  Structure Information
    Hover over a structure to display:
      Volume
      Structure type
      Assigned Hounsfield units
      Additional metadata
  Relationship Information
    Hover over relationship edges to display:
      Margin measurements
      Distances
      Overlap volumes
      Percent overlap
  User Controls
    Right-click actions allow users to:
      Hide structures
      Hide relationships
      Restore relationships
      Add notes
      Select displayed metrics
  These features support creation of customized QA diagrams.

## Slide 8: Planning Preparation Example
Dosimetrist Workflow
  Initial Inputs
    Planning CT
    Contoured structure set
    Two PTV targets
  Analysis
    Generate:
    Target-OAR overlap diagram
      Identify overlapping OARs
      Display overlap percentages
    Distance diagram
      Distance between targets
      Distance between targets and OARs
    Benefits
    Supports:
      Selection of optimization structures
      Initial beam arrangement
      Optimization priorities
      Anticipation of planning tradeoffs

## Slide 9: Plan QA Example
Physicist Workflow
  Structure Relations provides rapid verification that expected relationships exist.
  Examples
    Verify that:
      GTV is contained in CTV
      CTV is contained in PTV
      Expansion margins are appropriate
      Optimization structures were generated correctly
      Structures are labeled consistently
    Example:
      CTV_1 contains GTV_1
      PTV_1 contains CTV_1
      Opt-Bladder partitions Bladder and borders the target.

## Slide 10: Failure Investigation
Finding the Cause of Relationship Violations
  When expected relationships fail:
    Slice-Based Review
      The application can display:
        Slice-level relationships
        2D contour comparisons
        Problem locations
    Example
      Expected:
      PTV contains GTV
      Observed:
      PTV overlaps GTV
      Investigation reveals:
        Relationship correct on most slices
        Failure occurs on only two slices
      Cause:
        GTV generated from MIP CT
        PTV manually cropped against chest wall
          The relationship diagram immediately identifies where review should focus.

## Slide 11: Relationship Model
Physical Relationships
  The application identifies several fundamental geometric relationships
Major Relationship Classes
  Equals
  Contains
  Partitions
  Confines
  Surrounds
  Shelters
  Overlaps
  Borders
  Disjoint
Each relationship corresponds to a precise geometric definition and supports specific metrics.

## Slide 12: Beyond DE-9IM
DE-27IM Relationship Framework
  Standard DE-9IM topology cannot distinguish some clinically meaningful cases.
  Example:
  A structure completely inside a hole in another structure is classified as disjoint.
  Structure Relations extends this using a DE-27IM framework that combines:
    Structure relationship
    Exterior relationship
    Convex hull relationship
  This enables clinically meaningful concepts such as:
    Surrounds
    Shelters
    Confines
  that would otherwise be lost

## Slide 13: Logical Relationships
Removing Diagram Clutter
  Many relationships are implied by other relationships.
Example
  If
  PTV contains CTV
  and
  CTV contains GTV
  then
  PTV contains GTV
  is guaranteed.
  This is a Logical Relationship.
Benefit
  Logical relationships are hidden by default, so diagrams emphasize direct and clinically relevant relationships rather than redundant information.

## Slide 14: Relationship Logic Engine
Graph-Based Relationship Analysis
  To identify logical relationships:
    Build a directed graph.
    Add explicit relationships.
    Add implied relationships.
    Search for alternate paths.
    Classify redundant edges as logical.
  This approach allows complex structure sets to be visualized clearly even when hundreds of pairwise relationships exist.

## Slide 15: Current Outputs
Existing Deliverables
Relationship Diagram
  Visual network of contour relationships.
Relationship Matrix
  Complete pairwise relationship table.
Metrics Display
  Margins
  Distances
  Overlap volumes
  Relative volumes
Slice-Based Comparisons
  Detailed contour investigation tools.
  (Insert application screenshots here.)

## Slide 16: Architecture Overview
Algorithm Design
Geometry Analysis
  Slice-by-slice processing
  3D corrections and aggregation
  Topological classification
  Metric calculation
Relationship Engine
  DE-27IM model
  Relationship classification
  Logical relationship detection
  Graph simplification
Output Layer
  Interactive diagrams
  Tables
  Reports
  PDF export

## Slide 17: Roadmap
Planned Enhancements
Visualization
  Display margins directly on diagrams
  Display distances directly on diagrams
  Display overlap percentages directly on diagrams
Interface
  Improved automatic layout
  Better readability of large diagrams
Slice Viewer
  Embedded CT images
  Annotated contour comparisons
Automated Testing Templates
  Site-specific QA checks:
    Head and Neck
    Lung SBRT
    Breast
    Pelvis
  Automatically verify:
    Naming conventions
    Expected relationships
    Margin requirements
  Generate exception reports for failed tests.

## Slide 18: Long-Term Vision
From Visualization to Automated Structure QA
  Future releases could:
    Validate expected contour hierarchies
    Detect missing structures
    Verify standard margins
    Annotate failures
    Generate automated QA reports
  Goal:
    Transform contour relationship review from a manual visual task into an efficient, standardized, and largely automated QA process.

## Slide 19: Summary
Structure Relations
  Provides
    ✓ Rapid visualization of structure relationships
    ✓ Quantitative overlap, margin, and distance metrics
    ✓ Planning preparation support
    ✓ Plan checking support
    ✓ Contour QA support
    ✓ Interactive diagrams and reports
Key Takeaway
  Structure Relations makes contour relationships visible, measurable, and actionable, enabling faster planning decisions and more effective plan QA. [Relations | Word]
  This outline is already at the level where it could be directly converted into a 15–20 minute conference-style PowerPoint. I would recommend adding 4–6 screenshots from the current application (relationship diagrams, matrix view, and slice comparison view) after Slides 7, 8, 12, and 14 to make the presentation much more compelling.